## Slide 1: Basic Electrical Safety for Industrial Workers
Test Training Institute
Test Training Institute

## Slide 2: Unit 1: Understanding Electrical Hazards
Live parts >50 V exposed or un‑covered
Damaged insulation, cracked cords or loose connections
Missing or incorrect earthing/grounding
Warning labels: IEC 60404 symbols, lock‑out/tag‑out tags, voltage ratings
Test Training Institute
Notes: Electrical hazards are often hidden until you see a live conductor, a broken cable or a missing earth. For example, at our metal‑working shop a three‑phase motor starter had a cracked power cable that could have caused a 415 V shock. Always look for the standard warning symbols and ensure lock‑out/tag‑out is applied before work.

## Slide 3: Unit 2: Personal Protective Equipment (PPE)
Choose dielectric‑rated gloves, flame‑resistant sleeves & insulated tools for live‑circuit work
Inspect PPE for cracks, wear, proper labeling & test insulation resistance before each use
Know PPE limits: a 1 kV glove won’t protect against >4 kA arc‑flash; hard hats stop impact, not shock
Test Training Institute
Notes: When you start a job on an 11 kV switchboard, wear gloves rated at least 12 kV, flame‑resistant sleeves, and insulated tools. Before using them, check for cracks, worn seams and verify the glove’s insulation resistance with a tester. Remember, a hard hat protects against impact but not electrical shock, so you still need a face shield and arc‑rated coveralls.

## Slide 4: Unit 3: Safe Isolation Procedures
Lock, tag, and verify – use a unique lock and a clearly written tag before any work begins
Isolate the energy source, then confirm zero energy with a calibrated multimeter or voltage detector
Record each step on the LOTO permit and obtain sign‑off from the authorized supervisor
South African OHS Act & MERSETA QCTO require written procedures and regular audits; breaches can attract fines up to R1 million
Test Training Institute
Notes: Explain that the lock‑out‑tag‑out process isn’t just about putting a lock on a switch – you must also document and get sign‑off to ensure accountability. Demonstrate verification by showing a multimeter reading zero volts on a motor drive before maintenance starts. For example, when a maintenance team isolates a conveyor motor, they lock the circuit breaker, tag it with the worker’s name, test for voltage, and complete the LOTO permit before beginning work.

## Slide 5: Unit 4: Emergency Response
Cut power at the source before touching the victim
Use insulated gloves and tools; keep a 1‑metre safe zone
Check responsiveness, call emergency services, then start CPR if needed
Only administer CPR after confirming the circuit is dead
Record the incident and report per MERSETA QCTO procedures
Test Training Institute
Notes: When an electrical shock occurs, the first action is to isolate the supply – for example, in our plant we switched off the main breaker before assisting a worker on a faulty motor. After confirming the area is safe, you check the person’s response, call emergency services, and only then begin CPR if the heart has stopped. Finally, document the incident immediately to meet MERSETA reporting requirements.